## Input
Fill in yellow blanks.
Equipment | Modules | Q'ty
VX-2000 |  | 1
VX-200XR
VX-200XI
900module
EV-200
RM-200XF |  | 0
RM-200X |  | 0
| RM-210 | 0
VX-2000SF |  | 0
| VX-200SP | 0
| VX-200SZ | 0
| VX-200SI | 0
| VX-200SO | 0
| VX-200SE | 0
VP-2064 |  | 0
VP-2122 |  | 0
VP-2241 |  | 0
VP-2421 |  | 0
| VP-200VX | 0
VX-2000PF |  | 1
| VX-200PS | 1
VX-2000DS |  | 1
Others

## RM Sheet
Remote Microphone
RM ID No. | Equipment | RM-210 | Connect | Cable No. | Cable Type | (Ohm/km) | Distance(m) | (ohm) | OK?
1
2
3
4
5
6
7
8
| RM-210 Total | 0
Cable Type
Cable No. | Cable Type | Ohm/km
1 | Cat5 STP | 93.8
2 | Belden 85102 | 15.62
3 | Belden 8471 | 14.73
4 | Level IV, 22AWG | 59.1
5 | JY (St) Y 2 ×2 ×0.8 | 36.6
6 | PVC 10AWG 3.07mm2 | 3.86
7 | PVC 12AWG 2.42mm2 | 6.15
8 | PVC 14AWG 1.92mm2 | 9.78
9 | PVC 16AWG 1.53mm2 | 14.5
10 | PVC 18AWG 1.21mm2 | 24.1
11 | PVC 20AWG 0.94mm2 | 37.7
12
13
14
15
16
17
18
19

## SF Sheet
VX-2000SF total | 0
VX-2000SF ID No. | 1 | 2 | 3 | 4 | 5 | Total
VX-200SP | [5 empty] | 0
VX-200SZ | [5 empty] | 0
VX-200SI | [5 empty] | 0
VX-200SO | [5 empty] | 0
VX-200SE | [5 empty] | 0
Standby Amplifier | Yes | Yes | Yes | Yes | Yes
VX-2000DS Unit No. | (none) | (none) | (none) | (none) | (none)
Auto Replace | Yes | Yes | Yes | Yes | Yes
Same Place | - | No | No | No | No
Total | 0 | 0 | 0 | 0 | 0
Zone No. From
To

## VP Sheet
Standby Amplifier
|  |  | VX-2000SF |  | Power Amplifier |  | VX-2000DS | DC OUTPUT
Standby | Name | Output(W) | ID No. | Equipment | Unit No. | CH | Unit No. | Terminal No.
Yes |  | 0 | 1 | (none) |  |  | (none)
Yes |  | 0 | 2 | (none) |  |  | (none)
Yes |  | 0 | 3 | (none) |  |  | (none)
Yes |  | 0 | 4 | (none) |  |  | (none)
Yes |  | 0 | 5 | (none) |  |  | (none)
Zone Amplifier
|  |  | VX-2000SF |  | Power Amplifier |  | VX-2000DS | DC OUTPUT
Zone No. | Zone Name | Output(W) | ID No. | Equipment | Unit No. | CH | Unit No. | Terminal No.
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)
(none)

## DS Sheet
Backup Period settings |  |  |  |  | Monitoring interval setting |  |  |  |  | Message cycle settings
Standby Period |  | 24 | hours |  | Monitoring interval |  | 10 | min. |  | Message cycle |  | 32 | sec.
Alarm period |  | 30 | min. | [6 empty] | Attn.drawing signal |  | 8 | sec.
Results |  | RM-200XF | RM-200X | VX-2000 | VX-2000SF | VP-2064 | VP-2122 | VP-2241 | VP-2421 | Others | VX-200PS | Battery |  | OK?
VX-2000DS(1) | 1 |  |  | 1 | [6 empty] | 1 | 9 | Ah | OK
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(2) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(3) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(4) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(5) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(6) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(7) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(8) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(9) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(10) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6

## Sheet1 (hidden)
変更履歴
VER | 日付 | シート名 | 内容
1.00→1.01 | 20021216 | temp_v | スタンバイ電流の計算方法ミス
スタンバイ時にアイドリング電流値を代入していた。バグフィックス。
|  | Input | バージョンが印刷されない
VER.1.00が印刷されるようにした。
|  | All | バージョンとシート名の印刷がMSｺﾞｼｯｸ
Times New Romanに変更
SUPPLEMENTARY TOOL'をフッダに'VX-2000'をヘッダに入れた
|  | SF,VP | 紫色の表示を追加
Clearボタンでの初期化で初期値を入れるようにした。
|  | All | 範囲外のページを表示しないように変更
1.01→1.02 | 20021216 | DS,VP | ページ端の罫線が印刷されなかったのを修正
|  | Input | XRがなく、RMが0台の時に(over)と表示されるのを修正
|  | All | ヘッダに印刷日付を入れた。
|  | VP | 有効ではないセルの表示を、紫での表示から非表示に変更。
|  | All | 値を入力するセル以外は入力バーに表示しないように変更

## temp_i (hidden)
Qty | xr_input | xi_input | 900input
0 | 0 | 0 | 0
1 | 1 | 1 | 1
2 | 2 | 2 | 2
3 | 3 | 3 | 3
4 | 4 | 4 | 4
5 | 5 | 5 | 5
6 | 6 | 6 | 6
7 | 7 | 7 | 7
8 | 8 | 8 | 8
XR | 0 | 0 | 8
XI | 0 | 0 | 8
900 | 0 | 0 | 8
| REMAIN | 8

## temp_r (hidden)
RM Name | SUM | Key No | RM210
RM-200XF | 0 | 5 | 10
RM-200X(Emergency) | 0 | 15 | 9
RM-200X(General) | 0 | 15 | 9
(none) | (over) | 0 | 0
0
RM Unit No. | Equipment | KEY No | RM210 | RM210 | Key No. | KeyRem | Remain | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
RM1 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM2 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM3 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM4 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM5 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM6 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM7 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
RM8 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0: 0
|  |  |  | TOTAL | 0
315
Connect | RM1 | RM2 | RM3 | RM4 | RM5 | RM6 | RM7 | RM8
VX-200XR(1) | VX-200XR(1) | VX-200XR(1) | VX-200XR(1) | VX-200XR(1) | VX-200XR(1) | VX-200XR(1) | VX-200XR(1) | VX-200XR(1)
VX-200XR(2) | VX-200XR(2) | VX-200XR(2) | VX-200XR(2) | VX-200XR(2) | VX-200XR(2) | VX-200XR(2) | VX-200XR(2) | VX-200XR(2)
VX-200XR(3) | VX-200XR(3) | VX-200XR(3) | VX-200XR(3) | VX-200XR(3) | VX-200XR(3) | VX-200XR(3) | VX-200XR(3) | VX-200XR(3)
VX-200XR(4) | VX-200XR(4) | VX-200XR(4) | VX-200XR(4) | VX-200XR(4) | VX-200XR(4) | VX-200XR(4) | VX-200XR(4) | VX-200XR(4)
VX-200XR(5) | VX-200XR(5) | VX-200XR(5) | VX-200XR(5) | VX-200XR(5) | VX-200XR(5) | VX-200XR(5) | VX-200XR(5) | VX-200XR(5)
VX-200XR(6) | VX-200XR(6) | VX-200XR(6) | VX-200XR(6) | VX-200XR(6) | VX-200XR(6) | VX-200XR(6) | VX-200XR(6) | VX-200XR(6)
VX-200XR(7) | VX-200XR(7) | VX-200XR(7) | VX-200XR(7) | VX-200XR(7) | VX-200XR(7) | VX-200XR(7) | VX-200XR(7) | VX-200XR(7)
VX-200XR(8) | VX-200XR(8) | VX-200XR(8) | VX-200XR(8) | VX-200XR(8) | VX-200XR(8) | VX-200XR(8) | VX-200XR(8) | VX-200XR(8)
VX-2000DS(1) | RM2 | RM1 | RM1 | RM1 | RM1 | RM1 | RM1 | RM1
VX-2000DS(2) | RM3 | RM3 | RM2 | RM2 | RM2 | RM2 | RM2 | RM2
VX-2000DS(3) | RM4 | RM4 | RM4 | RM3 | RM3 | RM3 | RM3 | RM3
VX-2000DS(4) | RM5 | RM5 | RM5 | RM5 | RM4 | RM4 | RM4 | RM4
VX-2000DS(5) | RM6 | RM6 | RM6 | RM6 | RM6 | RM5 | RM5 | RM5
VX-2000DS(6) | RM7 | RM7 | RM7 | RM7 | RM7 | RM7 | RM6 | RM6
VX-2000DS(7) | RM8 | RM8 | RM8 | RM8 | RM8 | RM8 | RM8 | RM7
VX-2000DS(8) | VX-2000DS(1) | VX-2000DS(1) | VX-2000DS(1) | VX-2000DS(1) | VX-2000DS(1) | VX-2000DS(1) | VX-2000DS(1) | VX-2000DS(1)
VX-2000DS(9) | VX-2000DS(2) | VX-2000DS(2) | VX-2000DS(2) | VX-2000DS(2) | VX-2000DS(2) | VX-2000DS(2) | VX-2000DS(2) | VX-2000DS(2)
VX-2000DS(10) | VX-2000DS(3) | VX-2000DS(3) | VX-2000DS(3) | VX-2000DS(3) | VX-2000DS(3) | VX-2000DS(3) | VX-2000DS(3) | VX-2000DS(3)
| VX-2000DS(4) | VX-2000DS(4) | VX-2000DS(4) | VX-2000DS(4) | VX-2000DS(4) | VX-2000DS(4) | VX-2000DS(4) | VX-2000DS(4)
| VX-2000DS(5) | VX-2000DS(5) | VX-2000DS(5) | VX-2000DS(5) | VX-2000DS(5) | VX-2000DS(5) | VX-2000DS(5) | VX-2000DS(5)
| VX-2000DS(6) | VX-2000DS(6) | VX-2000DS(6) | VX-2000DS(6) | VX-2000DS(6) | VX-2000DS(6) | VX-2000DS(6) | VX-2000DS(6)
| VX-2000DS(7) | VX-2000DS(7) | VX-2000DS(7) | VX-2000DS(7) | VX-2000DS(7) | VX-2000DS(7) | VX-2000DS(7) | VX-2000DS(7)
| VX-2000DS(8) | VX-2000DS(8) | VX-2000DS(8) | VX-2000DS(8) | VX-2000DS(8) | VX-2000DS(8) | VX-2000DS(8) | VX-2000DS(8)
| VX-2000DS(9) | VX-2000DS(9) | VX-2000DS(9) | VX-2000DS(9) | VX-2000DS(9) | VX-2000DS(9) | VX-2000DS(9) | VX-2000DS(9)
| VX-2000DS(10) | VX-2000DS(10) | VX-2000DS(10) | VX-2000DS(10) | VX-2000DS(10) | VX-2000DS(10) | VX-2000DS(10) | VX-2000DS(10)
RM-210 | RM1: RM-200XF; RM2: RM-200X(Emergency); RM3: RM-200X(General)
0 | RM1: 28; RM2: 23.9; RM3: 70.7
1 | RM1: 20.7; RM2: 18.4; RM3: 54.3
2 | RM1: 16.4; RM2: 14.7; RM3: 44
3 | RM1: 13.4; RM2: 12.3; RM3: 37.1
4 | RM1: 11.7; RM2: 10.6; RM3: 31.4
5 | RM1: 9.73; RM2: 9.21; RM3: 27.4
6 | RM1: 8.67; RM2: 8.08; RM3: 24.1
7 | RM1: 7.75; RM2: 7.2; RM3: 21.5
8 | RM1: 6.86; RM2: 6.47; RM3: 19.1
9 | RM1: 6.11; RM2: 5.78; RM3: 17.1
10 | RM1: 5.48
| DC16V全点灯 | DC16V全点灯 | DC16V待機時
RM-210 | RM1: RM-200XF; RM2: RM-200X(Emergency); RM3: RM-200X(General)
0 | RM1: 0.1004; RM2: 0.1217; RM3: 0.1166
1 | RM1: 0.1514; RM2: 0.1726; RM3: 0.1275
2 | RM1: 0.2033; RM2: 0.2248; RM3: 0.1395
3 | RM1: 0.256; RM2: 0.2771; RM3: 0.1506
4 | RM1: 0.3092; RM2: 0.3336; RM3: 0.1637
5 | RM1: 0.3652; RM2: 0.3902; RM3: 0.1753
6 | RM1: 0.4219; RM2: 0.4509; RM3: 0.1873
7 | RM1: 0.481; RM2: 0.5107; RM3: 0.1983
8 | RM1: 0.5434; RM2: 0.5789; RM3: 0.2122
9 | RM1: 0.6127; RM2: 0.6503; RM3: 0.2242
10 | RM1: 0.685
RM ID No. | RM1: Type; RM2: OK?; RM3: current; 315 RM8: VX-200XR
1 | 0 |  | 0 | RM1 | 0 | #N/A | 0 | 0
2 | 0 |  | 0 | RM2 | 0 | #N/A | 0 | 0
3 | 0 |  | 0 | RM3 | 0 | #N/A | 0 | 0
4 | 0 |  | 0 | RM4 | 0 | #N/A | 0 | 0
5 | 0 |  | 0 | RM5 | 0 | #N/A | 0 | 0
6 | 0 |  | 0 | RM6 | 0 | #N/A | 0 | 0
7 | 0 |  | 0 | RM7 | 0 | #N/A | 0 | 0
8 | 0 |  | 0 | RM8 | 0 | #N/A | 0 | 0
RM | RM1: Equipment-Connect
1 | bar: RM1
2 | bar: RM1
3 | bar: RM1
4 | bar: RM1
5 | bar: RM1
6 | bar: RM1
7 | bar: RM1
8 | bar: RM1

## temp_s (hidden)
SF | 0 | [12 empty] | current
SF1 |  | Max | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SP | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SZ | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SI | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SO | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SE | 0 | 0 | 0: 0 | 0 | A
Remain | 10 | [14 empty] | 0 | A | (none)
Zone Start |  | 1
Zone End |  | 0
SF | 0
SF2 |  | Max | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SP | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SZ | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SI | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SO | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SE | 0 | 0 | 0: 0 | 0 | A
Remain | 10 | [14 empty] | 0 | A | (none)
Zone Start |  | 1
Zone End |  | 0
SF | 0
SF3 |  | Max | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SP | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SZ | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SI | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SO | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SE | 0 | 0 | 0: 0 | 0 | A
Remain | 10 | [14 empty] | 0 | A | (none)
Zone Start |  | 1
Zone End |  | 0
SF | 0
SF4 |  | Max | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SP | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SZ | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SI | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SO | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SE | 0 | 0 | 0: 0 | 0 | A
Remain | 10 | [14 empty] | 0 | A | (none)
Zone Start |  | 1
Zone End |  | 0
SF | 0
SF5 |  | Max | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SP | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SZ | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SI | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SO | 0 | 10 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 0 | A
SE | 0 | 0 | 0: 0 | 0 | A
Remain | 10 | [14 empty] | 0 | A | (none)
Zone Start |  | 1
Zone End |  | 0
VX-2000DS Unit No.
(none) | count |  | 0: current
VX-2000DS(1) | 0 |  | 0: 0
VX-2000DS(2) | 0 |  | 0: 0
VX-2000DS(3) | 0 |  | 0: 0
VX-2000DS(4) | 0 |  | 0: 0
VX-2000DS(5) | 0 |  | 0: 0
VX-2000DS(6) | 0 |  | 0: 0
VX-2000DS(7) | 0 |  | 0: 0
VX-2000DS(8) | 0 |  | 0: 0
VX-2000DS(9) | 0 |  | 0: 0
VX-2000DS(10) | 0 |  | 0: 0

## temp_v (hidden)
TOTAL | 0 | Zone
[13 empty] | SF No | SF No | SF No | SF No | SF No
Zone From | 0 | 0 | 0 | 0 | 0 | [7 empty] | 1 | 2 | 3 | 4 | 5
To | 0 | 0 | 0 | 0 | 0 | [7 empty] | POWER AMP SELECT
VP NUMBER CALCULATE | Same Rack | No | No | No | No | [7 empty] | Watt | Amp
SF | 0 | 1 | 2 | 3 | 4 | 5 | [6 empty] | 0 | (none)
VP-2064 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0.1 | VP-2064
VP-2122 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 60.1 | VP-2122
VP-2241 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 120.1 | VP-2241
VP-2421 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 240.1 | VP-2421
[6 empty] | 0 | [6 empty] | 420.1 | (over)
[14 empty] | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5
Zone No. | Output Power(W) | SF No. | POWER | Amplifier | Count | No. | Ch. | Standby I[mA] | surveillance I[mA] | changeflag |  |  |  | VP-2064 | VP-2122 | VP-2241 | VP-2421 | VP-2064 | VP-2122 | VP-2241 | VP-2421 | VP-2064 | VP-2122 | VP-2241 | VP-2421 | VP-2064 | VP-2122 | VP-2241 | VP-2421 | VP-2064 | VP-2122 | VP-2241 | VP-2421
Yes | 0 | 1 | 0 | (none) | #N/A |  |  | 0 | 0
Yes | 0 | 2 | 0 | (none) | #N/A |  |  | 0 | 0
Yes | 0 | 3 | 0 | (none) | #N/A |  |  | 0 | 0
Yes | 0 | 4 | 0 | (none) | #N/A |  |  | 0 | 0
Yes | 0 | 5 | 0 | (none) | #N/A |  |  | 0 | 0
Zone | UsedZone | SF No | POWER | Amplifier | Count | No. | Ch. |  |  | changeflag | Changed | 2122Cnt
1 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
2 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
3 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
4 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
5 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
6 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
7 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
8 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
9 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
10 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
11 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
12 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
13 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
14 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
15 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
16 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
17 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
18 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
19 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
20 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
21 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
22 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
23 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
24 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
25 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
26 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
27 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
28 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
29 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
30 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
31 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
32 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
33 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
34 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
35 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
36 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
37 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
38 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
39 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
40 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
41 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
42 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
43 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
44 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
45 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
46 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
47 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
48 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
49 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
50 |  |  | 0 |  | #VALUE! |  |  | 0 | 0 |  | 0 | 0
[14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 60W CHANGE FLAG | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
Connect | DC Power Out
(none) | (none) |  |  |  |  | 1 | [6 empty] | 1
VX-2000DS(1) | 1
VX-2000DS(2) | 2 |  |  |  |  | 2 | [6 empty] | 2
VX-2000DS(3) | 3 |  |  |  |  | 3 | [6 empty] | 3
VX-2000DS(4) | 4 |  |  |  |  | 4 | [6 empty] | 0
VX-2000DS(5) | 5 |  |  |  |  | 5 | [6 empty] | 1
VX-2000DS(6) | 6 |  |  |  |  | 6 | [6 empty] | 2
VX-2000DS(7) | [5 empty] | 7 | [6 empty] | 3
VX-2000DS(8) | [5 empty] | 8 | [6 empty] | 0
VX-2000DS(9)
VX-2000DS(10)
(other)

## temp_v2 (hidden)
[14 empty] | VP-2064 |  |  |  | VP-2122 |  | VP-2241 | VP-2421
[7 empty] | ch | VPNo | DSNo | stb | sv_cur | max_cur |  | 1 | 2 | 3 | 4 | 1 | 2 | 1 | 1
stb1 | (none)-- | (none) | (none) | (none)-(none)- | (none)-- | 0 |  | (none)--1 | #N/A | 0 | 0 | 0.5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
stb2 | (none)-- | (none) | (none) | (none)-(none)- | (none)-- | 0 |  | (none)--1 | #N/A | 0 | 0 | 0.5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
stb3 | (none)-- | (none) | (none) | (none)-(none)- | (none)-- | 0 |  | (none)--1 | #N/A | 0 | 0 | 0.5 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
stb4 | (none)-- | (none) | (none) | (none)-(none)- | (none)-- | 0 |  | (none)--1 | #N/A | 0 | 0 | 0.5 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
stb5 | (none)-- | (none) | (none) | (none)-(none)- | (none)-- | 0 |  | (none)--1 | #N/A | 0 | 0 | 0.5 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | Output(W) | [6 empty] | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone1 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone2 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone3 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone4 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone5 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone6 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone7 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone8 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone9 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone10 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone11 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone12 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone13 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone14 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone15 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone16 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone17 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone18 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone19 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone20 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone21 | -- |  | (none) | -(none)- | -- | 120 |  | --1 | #N/A | 0 | 0 | 7.34 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone22 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone23 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone24 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone25 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone26 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone27 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone28 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone29 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone30 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone31 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone32 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone33 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone34 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone35 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone36 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone37 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone38 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone39 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone40 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone41 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone42 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone43 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone44 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone45 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone46 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone47 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone48 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone49 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
zone50 | -- |  | (none) | -(none)- | -- | 0 |  | --1 | #N/A | 0 | 0 | 0.5

## temp_d (hidden)
Backup Period settings |  |  |  |  | Alarm period
Standby Period (T1) |  | 24 | hours |  | T2 | D2
Alarm period (T2) |  | 30 | min. |  | 30 | 1.9
| D2 | 1.9 |  |  | 45 | 1.7 |  |  |  | cur.
Monitoring interval setting |  |  |  |  | 60 | 1.6 |  | VX-2000DS(1)-1 | VX-2000 | 0.3 | A
Monitoring interval |  | 10 | min. |  | 75 | 1.5 |  |  | VX-200XR | 0
[5 empty] | 90 | 1.45 |  |  | VX-200XI | 0
Message cycle settings | [8 empty] | RM | 0
Message cycle(M) |  | 32 | sec. | [5 empty] | EV-200 | 0 | [5 empty] | PS cur
Att.drawing-signal (X) |  | 8 | sec. | [6 empty] | 0.3 | [5 empty] | 23 | A
[16 empty] | 420 | w
[16 empty] | watt |  |  |  | stb+sv |  | max only
Results |  | RM-200XF | RM-200X | VX-2000 | VX-2000SF | VP-2064 | VP-2122 | VP-2241 | VP-2421 | Others | stb_cur | sv_cur | max_cur | output | ps calc. | VX-200PS |  | vx-2000pf |  | Battery |  | OK? |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(1) | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0.3 | 0.3 | 0.3 | 0 | max cur | 1 | total_stb_cur |  | I1 | 9 | Ah | OK | 25<max | VX-2000DS(1)-1 | VX-2000DS(1)-2 | VX-2000DS(1)-3 | VX-2000DS(1)-4 | VX-2000DS(1)-5 | VX-2000DS(1)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.3 |  | 0.3 |  | 0.3 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 23 |  | 0.3 | 1 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 22.7 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(2) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(2)-1 | VX-2000DS(2)-2 | VX-2000DS(2)-3 | VX-2000DS(2)-4 | VX-2000DS(2)-5 | VX-2000DS(2)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(3) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(3)-1 | VX-2000DS(3)-2 | VX-2000DS(3)-3 | VX-2000DS(3)-4 | VX-2000DS(3)-5 | VX-2000DS(3)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(4) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(4)-1 | VX-2000DS(4)-2 | VX-2000DS(4)-3 | VX-2000DS(4)-4 | VX-2000DS(4)-5 | VX-2000DS(4)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(5) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(5)-1 | VX-2000DS(5)-2 | VX-2000DS(5)-3 | VX-2000DS(5)-4 | VX-2000DS(5)-5 | VX-2000DS(5)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(6) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(6)-1 | VX-2000DS(6)-2 | VX-2000DS(6)-3 | VX-2000DS(6)-4 | VX-2000DS(6)-5 | VX-2000DS(6)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(7) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(7)-1 | VX-2000DS(7)-2 | VX-2000DS(7)-3 | VX-2000DS(7)-4 | VX-2000DS(7)-5 | VX-2000DS(7)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(8) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(8)-1 | VX-2000DS(8)-2 | VX-2000DS(8)-3 | VX-2000DS(8)-4 | VX-2000DS(8)-5 | VX-2000DS(8)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(9) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(9)-1 | VX-2000DS(9)-2 | VX-2000DS(9)-3 | VX-2000DS(9)-4 | VX-2000DS(9)-5 | VX-2000DS(9)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK |  | DSNo | DSNo | DSNo | DSNo | DSNo | DSNo
VX-2000DS(10) | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | max cur | 0 | total_stb_cur |  | I1 | 0 | Ah | OK |  | VX-2000DS(10)-1 | VX-2000DS(10)-2 | VX-2000DS(10)-3 | VX-2000DS(10)-4 | VX-2000DS(10)-5 | VX-2000DS(10)-6
DC OUTPUT | 2 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  |  | OK
Terminal No. | 3 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | ps cur |  | total_sv_cur |  | I2 |  |  | OK
| 4 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | OK
| 5 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | margin |  | total_output |  |  |  |  | OK
| 6 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  |  | OK
[16 empty] | 1 |  | 1
This calculation is based on Annex C of BS5839: Part 8: 1998.
[19 empty] | Cmin: | minimum capacity of battery required. [Ah]
[19 empty] | T1: | standby period. [h]
[19 empty] | T2: | period on full alarm load. [h]
[19 empty] | I1: | total quiescent current, including any monitoring current. [A] | [6 empty] | I1= | (sv_cur*(20/60)+stb_cur*(Mon_INT-(20/60))/Mon_INT
[19 empty] | I2: | total battery load current with all loudspeaker zones in full alarm condition. [A] | [6 empty] | I2= | L{1.7X + 0.85(M-X)} / (24M) [A]
[19 empty] | M: | total duration of one message cycle, including periods of silence. [sec.]
[19 empty] | X: | total duration of attentiondrawing-signal within one message cycle. [sec.]
[19 empty] | L: | output power required for all loudspeakers. [W]
[19 empty] | D1: | de-rating factor based on the standby quiescent current I1. If T1>20h, D1=1. If T1<20h, D1="NG".
[19 empty] | D2: | de-rating factor based on full alarm load current I2 and the discharge time T2.
[20 empty] | T2 | D2
[20 empty] | 30 min. | 1.90 | [5 empty] | Cmin = | 1.25{(D1*T1*I1) + (D2*T2*I2)} [Ah] |  | [Ah]
[20 empty] | 45 min. | 1.70
[20 empty] | 60 min. | 1.60
[20 empty] | 75 min. | 1.50
[20 empty] | 90 min | 1.45

## temp_d2 (hidden)
Backup Period settings |  |  |  |  | Monitoring interval setting |  |  |  |  | Message cycle settings
Standby Period |  | 24 | hours |  | Monitoring interval |  | 10 | min. |  | Message cycle |  | 32 | sec.
Alarm period |  | 30 | min. | [6 empty] | Att.drawing-signal |  | 8 | sec.
Results |  | RM-200XF | RM-200X | VX-2000 | VX-2000SF | VP-2064 | VP-2122 | VP-2241 | VP-2421 | Others | VX-200PS | Battery |  | OK?
VX-2000DS(1) | 1 |  |  | 1 | [6 empty] | 1 | 9 | Ah | OK
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(2) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(3) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(4) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(5) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(6) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(7) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(8) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(9) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6
VX-2000DS(10) | 1 | [11 empty] | Ah
DC OUTPUT | 2
Terminal No. | 3
4
5
6

## VX-2000DS (hidden)
Battery capacity calculating table for one VX-2000DS | [8 empty] | Ver. 0.11
Fill in yellow blanks. | [5 empty] | Current per unit |  | Current in total
Equipment |  | Modules | Q'ty | Output power |  | Standby | Surveillance | Standby | Surveillance
VX-2000 |  |  | 1 |  |  | 0.37 | 0.37 | 0.37 | 0.37
|  | RM-200XF | 1 |  |  | 0 | 0 | 0 | 0
|  | RM-200X | 1 |  |  | 0 | 0 | 0 | 0
|  | RM-210 | 1 |  |  | 0 | 0 | 0 | 0
|  | VX-200XR | 1 |  |  | 0.04 | 0.04 | 0.04 | 0.04 | 3840
|  | VX-200XI | 1 |  |  | 0.04 | 0.04 | 0.04 | 0.04 | 4560
|  | EV-200 | 1 |  |  | 0.2 | 0.2 | 0.2 | 0.2
VX-2000SF |  |  | 1 |  |  | 0.24 | 0.24 | 0.24 | 0.24
|  | VX-200SP | 1 |  |  | 0.063 | 0.063 | 0.063 | 0.063
|  | VX-200SZ | 1 |  |  | 0.075 | 0.075 | 0.075 | 0.075
|  | VX-200SI | 1 |  |  | 0.01 | 0.01 | 0.01 | 0.01
|  | VX-200SO | 1 |  |  | 0.092 | 0.092 | 0.092 | 0.092
|  | VX-200SE | 1 |  |  | 0.028 | 0.028 | 0.028 | 0.028
VP-2064 |  |  | 1 | 240 |  |  |  | 0.066 | 1.062
|  | VP-200VX | 4
VP-2122 |  |  | 1 | 240 |  |  |  | 0.044 | 1.022
|  | VP-200VX | 2
VP-2241 |  |  | 1 | 240 |  |  |  | 0.033 | 1.002
|  | VP-200VX | 1
VP-2421 |  |  | 1 | 280 |  |  |  | 0.033 | 1.302
|  | VP-200VX | 1
Others |  |  | 0 |  |  | 0 | 0 | 0 | 0
|  |  |  | L = | 1000 |  |  | 1.334 | 5.546
[8 empty] | I1 = | 1.4744
This calculation is based on Annex C of BS5839: Part 8: 1998.
Standby Period (T1) |  | 24 | hours |  | Cmin: | minimum capacity of battery required. [Ah]
Alarm period (T2) |  | 30 | min. |  | T1: | standby period. [h]
[5 empty] | T2: | period on full alarm load. [h]
Message cycle (M) |  | 32 | sec. |  | I1: | total quiescent current, including any monitoring current. [A]
Att.drawing-signal (X) |  | 8 | sec. |  | I2: | total battery load current with all loudspeaker zones in full alarm condition. [A]
[5 empty] | M: | total duration of one message cycle, including periods of silence. [sec.]
Moniroring interval |  | 10 | min. |  | X: | total duration of attentiondrawing-signal within one message cycle. [sec.]
[5 empty] | L: | output power required for all loudspeakers. [W]
Derating factor D2 |  | 1.90 |  |  | D1: | de-rating factor based on the standby quiescent current I1. If T1>20h, D1=1.
[5 empty] | D2: | de-rating factor based on full alarm load current I2 and the discharge time T2.
I2 = | L{1.7X + 0.85(M-X)} / (24M) [A] |  |  |  |  | T2 | D2
= | 44.2708 | [A] |  |  |  | 30 min. | 1.90
[6 empty] | 45 min. | 1.70
Cmin = | 1.25{(D1*T1*I1) + (D2*T2*I2)} [Ah] |  |  |  |  | 60 min. | 1.60
= | 96.8036 | [Ah] |  |  |  | 75 min. | 1.50
[6 empty] | 90 min | 1.45

## RM200XF (hidden)
測定機種： | RM-200XF |  | シリアル： | 02I7385569 |  | 測定日： | 2002.10.23
RM-210台数 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 | XFのみ | 10
| 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA]
電源電圧 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機
44.0V | 94.3 | 85.3 | 114.5 | 90.4 | 136.1 | 96 | 156.2 | 100.2 | 177.2 | 104.1 | 198.8 | 109.2 | 220.9 | 113.5 | 243.8 | 118.3 | 267.2 | 122.4 | 293.4 | 127.2 | 321.7 | 131.9
40.0V | 93.4 | 84.3 | 115.2 | 89.7 | 138.3 | 95.5 | 160.5 | 100.2 | 183.1 | 104.5 | 206.7 | 110.1 | 230.3 | 114.6 | 255.4 | 120 | 280.6 | 124.2 | 309.3 | 129.6 | 339.2 | 134.4
28.0V | 93.3 | 81.8 | 123.4 | 89.2 | 154.2 | 96.9 | 184.9 | 103.4 | 215.6 | 110 | 248.2 | 117.3 | 280.7 | 123.7 | 315.1 | 130.9 | 349.5 | 136.9 | 389.9 | 144.4 | 430.8 | 150.8
24.0V | 94 | 81.8 | 128.9 | 90.2 | 164.2 | 99.1 | 199.8 | 106.5 | 235.3 | 114.5 | 272.9 | 122.4 | 310.6 | 129.8 | 350.6 | 138.6 | 390.9 | 145.1 | 437.3 | 153.8 | 484.6 | 161.2
20.0V | 96 | 82.6 | 137.4 | 92.3 | 179.5 | 102.7 | 221.9 | 111.7 | 264.2 | 120.9 | 309.3 | 130.7 | 353.9 | 139.4 | 401.8 | 149.5 | 450.4 | 157.7 | 505.8 | 167.8 | 562.7 | 176.8
16.0V | 100.4 | 84.7 | 151.4 | 96.3 | 203.3 | 108.8 | 256 | 119.4 | 309.2 | 131.6 | 365.2 | 143.6 | 421.9 | 154.5 | 481 | 166.8 | 543.4 | 177.4 | 612.7 | 189.8 | 685 | 201.4
14.4V | 103.7 | 86.3 | 159.5 | 99.4 | 217.4 | 112.5 | 275.8 | 125.8 | 335.4 | 138.5 | 397.4 | 151.5 | 461.2 | 164 | 527.7 | 177.6 | 596.5 | 189.6 | 674.4 | 202.9 | 756.8 | 216
消費電流 | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧
線路抵抗 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際
業務RM抵抗
非常RM抵抗
| mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω | mA | Ω
業務RM 16V SP ON | 147.2 | 82.7 | 197.6 | 61.3 | 248.9 | 48.5 | 302.4 | 40.1 | 355.7 | 33.8 | 413.8 | 29.3 | 469.1 | 25.8 | 532 | 23 | 589 | 20.4 | 660.3 | 18.3 | 740.2 | 16.5
非常RM 16V SP ON | 147 | 28 | 197.1 | 20.7 | 249.6 | 16.4 | 301.3 | 13.4 | 357.8 | 11.7 | 412.2 | 9.73 | 471.4 | 8.67 | 531.4 | 7.75 | 592.3 | 6.86 | 660.8 | 6.11 | 733.4 | 5.48
*業務RM抵抗:12[V]/(16V時の全点灯時の消費電流) : 28Vで動作する線路抵抗値
*非常RM抵抗: 4[V]/(16V時の全点灯時の消費電流) : 20Vで動作する線路抵抗値
RM-210台数
電源電圧
44.0V
40.0V
28.0V
24.0V
20.0V
16.0V
14.4V
消費電流
線路抵抗
業務RM抵抗
非常RM抵抗
業務RM 16V SP ON
非常RM 16V SP ON
RM-210台数
電源電圧
44.0V
40.0V
28.0V
24.0V
20.0V
16.0V
14.4V
消費電流
線路抵抗
業務RM抵抗
非常RM抵抗
業務RM 16V SP ON
非常RM 16V SP ON

## RM-200X (hidden)
測定機種： | RM-200X |  | シリアル： | 02I7385545 |  | 測定日： | 2002.10.21
RM-210台数 |  | 0 |  | 1 |  | 2 |  | 3
| 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA]
電源電圧 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機
44.0V | 115.2 | 113.7 | 133.5 | 118.7 | 155.8 | 123.3 | 174.9 | 127.1
40.0V | 114.8 | 113.5 | 135.4 | 118.6 | 158.5 | 123.8 | 179.5 | 127.5
28.0V | 114.6 | 112.2 | 143.8 | 118.7 | 175.1 | 125.4 | 204 | 131.2
24.0V | 116.7 | 112.9 | 149.8 | 120.1 | 185.5 | 128.4 | 219.2 | 135.1
20.0V | 118.3 | 113.5 | 158.5 | 122.5 | 200.7 | 133 | 241.6 | 140.7
16.0V | 121.7 | 116.6 | 172.6 | 127.5 | 224.8 | 139.5 | 277.1 | 150.6
14.4V | 123.5 | 117.7 | 180.8 | 130.6 | 238.4 | 143.4 | 297.7 | 156.3
消費電流 | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧
線路抵抗 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際
業務RM抵抗 | 69.7269 |  | 69.5249 |  | 53.3808 |  | 43.3057
非常RM抵抗 | 32.8677 |  | 23.175 |  | 17.7936 |  | 14.4352
| mA | Ω | mA | Ω | mA | Ω | mA | Ω
業務RM 16V SP ON | 172.1 | 70.7 | 223.6 | 54.3 | 276 | 44 | 328.9 | 37.1
非常RM 16V SP ON | 170.5 | 23.9 | 222.2 | 18.4 | 275.1 | 14.7 | 329.5 | 12.3
*業務RM抵抗:12[V]/(16V時の全点灯時の消費電流) : 28Vで動作する線路抵抗値
*非常RM抵抗: 4[V]/(16V時の全点灯時の消費電流) : 20Vで動作する線路抵抗値
RM-210台数 |  | 4 |  | 5 |  | 6 |  | 7
| 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA]
電源電圧 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機
44.0V | 198.2 | 132.7 | 217.3 | 135.5 | 243.5 | 143.6 | 265.6 | 147.5
40.0V | 204.7 | 134.2 | 225.6 | 137.4 | 253.1 | 145.4 | 277.4 | 148.4
28.0V | 238.1 | 140.7 | 267.6 | 144.8 | 304.9 | 155.3 | 337.8 | 160.8
24.0V | 258.6 | 145.2 | 293.3 | 150.5 | 335.8 | 161.8 | 375.4 | 169.1
20.0V | 287.8 | 152.6 | 330.9 | 159.6 | 380.5 | 172.5 | 427.6 | 180.3
16.0V | 333.6 | 163.7 | 390.2 | 175.3 | 450.9 | 187.3 | 510.7 | 198.3
14.4V | 360.2 | 170.7 | 423.8 | 183.5 | 491.2 | 196.6 | 559.5 | 210.9
消費電流 | 電源電圧 |  | 電源電圧 |  | 電源電圧 |  | 電源電圧
線路抵抗 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際
業務RM抵抗 | 35.9712 |  | 30.7535 |  | 26.6134 |  | 23.4972
非常RM抵抗 | 11.9904 |  | 10.2512 |  | 8.8711 |  | 7.8324
| mA | Ω | mA | Ω | mA | Ω | mA | Ω
業務RM 16V SP ON | 385 | 31.4 | 443.2 | 27.4 | 504.3 | 24.1 | 564.6 | 21.5
非常RM 16V SP ON | 386 | 10.6 | 444.7 | 9.21 | 504.5 | 8.08 | 566.2 | 7.2
RM-210台数 |  | 8 |  | 9 | XFのみ | 10
| 消費電流[mA] |  | 消費電流[mA] |  | 消費電流[mA]
電源電圧 | 全点灯 | 待機 | 全点灯 | 待機 | 全点灯 | 待機
44.0V | 291.7 | 153.2 | 319.3 | 158.8 | - | -
40.0V | 306.5 | 156.1 | 334.5 | 160.5 | - | -
28.0V | 377.7 | 169 | 416.6 | 175.7 | - | -
24.0V | 420.5 | 178.3 | 466.1 | 186.2 | - | -
20.0V | 481.7 | 191.2 | 536.6 | 200.2 | - | -
16.0V | 578.9 | 212.2 | 650.3 | 224.2 | - | -
14.4V | 636.3 | 224.5 | 715.5 | 237.8 | - | -
消費電流 | 電源電圧 |  | 電源電圧 |  | 電源電圧
線路抵抗 | 計算値Ω | 実際 | 計算値Ω | 実際 | 計算値Ω | 実際
業務RM抵抗 | 20.729 |  | 18.453 |  | - | -
非常RM抵抗 | 6.9097 |  | 6.151 |  | - | -
| mA | Ω | mA | Ω | mA | Ω
業務RM 16V SP ON | 639.3 | 19.1 | 706.9 | 17.1 | - | -
非常RM 16V SP ON | 636.6 | 6.47 | 708.9 | 5.78 | - | -